FORM C

Ministry of New and Renewable Energy

(Jawaharlal Nehru National Solar Mission)

Format for Detailed Project Report for Grid Connected Rooftop and Small SPV Power Plants (Capacity above 10 kWp to 500 kWp)

- Introduction

- All Information as per Form B

- Rooftop Solar Power Generation System description

- System Description and Specifications of the Components

  - Solar PV module

  - Grid Tie inverter

  - Module mounting structure

  - Array Junction Box

  - AC Distribution Board

  - Cable (All type)

  - Earthing Kit (maintenance free)

  - Installation Kit

  - Meters

  - Online monitoring system

  - Any other component

  - Shadow analysis (only for 100 kWp to 500 kWp)

  - Engineering documents (only for 100 kWp to 500 kWp)

- Bill of material/ system (no. /quantities) (For above components)

- Calculation for unit cost of power generation

- Cost benefit analysis, pay back period

- Expected output

- Respective drawings for layout, connection, components etc.

- Connectivity details with grid and metering arrangement (with sketch diagram)

- Agreement with distribution licensee/ DISCOMs

- Any other information